## Sheet1
Group | No | type | name
TL | 1 | DS | 611
TL | 1 | DS | 612
TL | 1 | DS | 616
TL | 1 | CB | 617
TL | 1 | relay | 주보호TRIP
TL | 1 | relay | 지락주보호
TL | 1 | relay | 단락후비보호
TL | 1 | relay | 지락후비보호
TL | 1 | relay | RelayFail
TL | 1 | relay | PNL DC Fail
TL | 1 | relay | 통신Fail
TL | 1 | relay | 동기탈조
TL | 1 | relay | 제폐로동작
TL | 1 | relay | 주보호정지
TL | 1 | relay | 송전선단선
TL | 1 | relay | PTFail
TL | 1 | relay | 고저항지락
TL | 1 | relay | GISGASLow1차
TL | 1 | relay | GISGASLow2차
TL | 1 | relay | GISAIRLow1차
TL | 1 | relay | GISAIRLow2차
TL | 1 | relay | GISDCFail
TL | 1 | relay | GISACFail
TL | 1 | relay | CTFail
TL | 1 | relay | 43RC
TL | 1 | relay | 43CA
TL | 1 | relay | 43PD
TL | 2 | DS | 621
TL | 2 | DS | 622
TL | 2 | DS | 626
TL | 2 | CB | 627
TL | 2 | relay | 주보호TRIP
TL | 2 | relay | 지락주보호
TL | 2 | relay | 단락후비보호
TL | 2 | relay | 지락후비보호
TL | 2 | relay | RelayFail
TL | 2 | relay | PNL DC Fail
TL | 2 | relay | 통신Fail
TL | 2 | relay | 동기탈조
TL | 2 | relay | 제폐로동작
TL | 2 | relay | 주보호정지
TL | 2 | relay | 송전선단선
TL | 2 | relay | PTFail
TL | 2 | relay | 고저항지락
TL | 2 | relay | GISGASLow1차
TL | 2 | relay | GISGASLow2차
TL | 2 | relay | GISAIRLow1차
TL | 2 | relay | GISAIRLow2차
TL | 2 | relay | GISDCFail
TL | 2 | relay | GISACFail
TL | 2 | relay | CTFail
TL | 2 | relay | 43RC
TL | 2 | relay | 43CA
TL | 2 | relay | 43PD
TL | 3 | DS | 631
TL | 3 | DS | 632
TL | 3 | DS | 636
TL | 3 | CB | 637
TL | 3 | relay | 주보호TRIP
TL | 3 | relay | 지락주보호
TL | 3 | relay | 단락후비보호
TL | 3 | relay | 지락후비보호
TL | 3 | relay | RelayFail
TL | 3 | relay | PNL DC Fail
TL | 3 | relay | 통신Fail
TL | 3 | relay | 동기탈조
TL | 3 | relay | 제폐로동작
TL | 3 | relay | 주보호정지
TL | 3 | relay | 송전선단선
TL | 3 | relay | PTFail
TL | 3 | relay | 고저항지락
TL | 3 | relay | GISGASLow1차
TL | 3 | relay | GISGASLow2차
TL | 3 | relay | GISAIRLow1차
TL | 3 | relay | GISAIRLow2차
TL | 3 | relay | GISDCFail
TL | 3 | relay | GISACFail
TL | 3 | relay | CTFail
TL | 3 | relay | 43RC
TL | 3 | relay | 43CA
TL | 3 | relay | 43PD
TL | 4 | DS | 641
TL | 4 | DS | 642
TL | 4 | DS | 646
TL | 4 | CB | 647
TL | 4 | relay | 주보호TRIP
TL | 4 | relay | 지락주보호
TL | 4 | relay | 단락후비보호
TL | 4 | relay | 지락후비보호
TL | 4 | relay | RelayFail
TL | 4 | relay | PNL DC Fail
TL | 4 | relay | 통신Fail
TL | 4 | relay | 동기탈조
TL | 4 | relay | 제폐로동작
TL | 4 | relay | 주보호정지
TL | 4 | relay | 송전선단선
TL | 4 | relay | PTFail
TL | 4 | relay | 고저항지락
TL | 4 | relay | GISGASLow1차
TL | 4 | relay | GISGASLow2차
TL | 4 | relay | GISAIRLow1차
TL | 4 | relay | GISAIRLow2차
TL | 4 | relay | GISDCFail
TL | 4 | relay | GISACFail
TL | 4 | relay | CTFail
TL | 4 | relay | 43RC
TL | 4 | relay | 43CA
TL | 4 | relay | 43PD
TL | 5 | DS | 651
TL | 5 | DS | 652
TL | 5 | DS | 656
TL | 5 | CB | 657
TL | 5 | relay | 주보호TRIP
TL | 5 | relay | 지락주보호
TL | 5 | relay | 단락후비보호
TL | 5 | relay | 지락후비보호
TL | 5 | relay | RelayFail
TL | 5 | relay | PNL DC Fail
TL | 5 | relay | 통신Fail
TL | 5 | relay | 동기탈조
TL | 5 | relay | 제폐로동작
TL | 5 | relay | 주보호정지
TL | 5 | relay | 송전선단선
TL | 5 | relay | PTFail
TL | 5 | relay | 고저항지락
TL | 5 | relay | GISGASLow1차
TL | 5 | relay | GISGASLow2차
TL | 5 | relay | GISAIRLow1차
TL | 5 | relay | GISAIRLow2차
TL | 5 | relay | GISDCFail
TL | 5 | relay | GISACFail
TL | 5 | relay | CTFail
TL | 5 | relay | 43RC
TL | 5 | relay | 43CA
TL | 5 | relay | 43PD
TL | 6 | DS | 661
TL | 6 | DS | 662
TL | 6 | DS | 666
TL | 6 | CB | 667
TL | 6 | relay | 주보호TRIP
TL | 6 | relay | 지락주보호
TL | 6 | relay | 단락후비보호
TL | 6 | relay | 지락후비보호
TL | 6 | relay | RelayFail
TL | 6 | relay | PNL DC Fail
TL | 6 | relay | 통신Fail
TL | 6 | relay | 동기탈조
TL | 6 | relay | 제폐로동작
TL | 6 | relay | 주보호정지
TL | 6 | relay | 송전선단선
TL | 6 | relay | PTFail
TL | 6 | relay | 고저항지락
TL | 6 | relay | GISGASLow1차
TL | 6 | relay | GISGASLow2차
TL | 6 | relay | GISAIRLow1차
TL | 6 | relay | GISAIRLow2차
TL | 6 | relay | GISDCFail
TL | 6 | relay | GISACFail
TL | 6 | relay | CTFail
TL | 6 | relay | 43RC
TL | 6 | relay | 43CA
TL | 6 | relay | 43PD
TR | 1 | DS | 6131
TR | 1 | DS | 6132
TR | 1 | DS | 4141
TR | 1 | DS | 4142
TR | 1 | CB | 6133
TR | 1 | CB | 4144
TR | 1 | relay | 86T
TR | 1 | relay | 87
TR | 1 | relay | 59GT
TR | 1 | relay | 59GA
TR | 1 | relay | 51P
TR | 1 | relay | 51PN
TR | 1 | relay | 51S
TR | 1 | relay | 51SN
TR | 1 | relay | 96P
TR | 1 | relay | 96D
TR | 1 | relay | 96T
TR | 1 | relay | OLTCBlock(50B)
TR | 1 | relay | RelayFail
TR | 1 | relay | PNL DC Fail
TR | 1 | relay | GISGASLow1차
TR | 1 | relay | GISGASLow2차
TR | 1 | relay | GISAIRLow1차
TR | 1 | relay | GISAIRLow2차
TR | 1 | relay | GISDCFail
TR | 1 | relay | GISACFail
TR | 1 | relay | 96G
TR | 1 | relay | 63N
TR | 1 | relay | 27T
TR | 1 | relay | 49F
TR | 1 | relay | 30F2
TR | 1 | relay | 8F
TR | 1 | relay | 63F
TR | 1 | relay | 33Q
TR | 1 | relay | 26Q1
TR | 1 | relay | 26Q2
TR | 1 | relay | 26W1
TR | 1 | relay | 26W2
TR | 2 | DS | 6231
TR | 2 | DS | 6232
TR | 2 | DS | 4241
TR | 2 | DS | 4242
TR | 2 | CB | 6233
TR | 2 | CB | 4244
TR | 2 | relay | 86T
TR | 2 | relay | 87
TR | 2 | relay | 59GT
TR | 2 | relay | 59GA
TR | 2 | relay | 51P
TR | 2 | relay | 51PN
TR | 2 | relay | 51S
TR | 2 | relay | 51SN
TR | 2 | relay | 96P
TR | 2 | relay | 96D
TR | 2 | relay | 96T
TR | 2 | relay | OLTCBlock(50B)
TR | 2 | relay | RelayFail
TR | 2 | relay | PNL DC Fail
TR | 2 | relay | GISGASLow1차
TR | 2 | relay | GISGASLow2차
TR | 2 | relay | GISAIRLow1차
TR | 2 | relay | GISAIRLow2차
TR | 2 | relay | GISDCFail
TR | 2 | relay | GISACFail
TR | 2 | relay | 96G
TR | 2 | relay | 63N
TR | 2 | relay | 27T
TR | 2 | relay | 49F
TR | 2 | relay | 30F2
TR | 2 | relay | 8F
TR | 2 | relay | 63F
TR | 2 | relay | 33Q
TR | 2 | relay | 26Q1
TR | 2 | relay | 26Q2
TR | 2 | relay | 26W1
TR | 2 | relay | 26W2
TR | 3 | DS | 6331
TR | 3 | DS | 6332
TR | 3 | DS | 4341
TR | 3 | DS | 4342
TR | 3 | CB | 4333
TR | 3 | CB | 4344
TR | 3 | relay | 86T
TR | 3 | relay | 87
TR | 3 | relay | 59GT
TR | 3 | relay | 59GA
TR | 3 | relay | 51P
TR | 3 | relay | 51PN
TR | 3 | relay | 51S
TR | 3 | relay | 51SN
TR | 3 | relay | 96P
TR | 3 | relay | 96D
TR | 3 | relay | 96T
TR | 3 | relay | OLTCBlock(50B)
TR | 3 | relay | RelayFail
TR | 3 | relay | PNL DC Fail
TR | 3 | relay | GISGASLow1차
TR | 3 | relay | GISGASLow2차
TR | 3 | relay | GISAIRLow1차
TR | 3 | relay | GISAIRLow2차
TR | 3 | relay | GISDCFail
TR | 3 | relay | GISACFail
TR | 3 | relay | 96G
TR | 3 | relay | 63N
TR | 3 | relay | 27T
TR | 3 | relay | 49F
TR | 3 | relay | 30F2
TR | 3 | relay | 8F
TR | 3 | relay | 63F
TR | 3 | relay | 33Q
TR | 3 | relay | 26Q1
TR | 3 | relay | 26Q2
TR | 3 | relay | 26W1
TR | 3 | relay | 26W2
TR | 4 | DS | 6431
TR | 4 | DS | 6432
TR | 4 | DS | 4441
TR | 4 | DS | 4442
TR | 4 | CB | 6433
TR | 4 | CB | 4444
TR | 4 | relay | 86T
TR | 4 | relay | 87
TR | 4 | relay | 59GT
TR | 4 | relay | 59GA
TR | 4 | relay | 51P
TR | 4 | relay | 51PN
TR | 4 | relay | 51S
TR | 4 | relay | 51SN
TR | 4 | relay | 96P
TR | 4 | relay | 96D
TR | 4 | relay | 96T
TR | 4 | relay | OLTCBlock(50B)
TR | 4 | relay | RelayFail
TR | 4 | relay | PNL DC Fail
TR | 4 | relay | GISGASLow1차
TR | 4 | relay | GISGASLow2차
TR | 4 | relay | GISAIRLow1차
TR | 4 | relay | GISAIRLow2차
TR | 4 | relay | GISDCFail
TR | 4 | relay | GISACFail
TR | 4 | relay | 96G
TR | 4 | relay | 63N
TR | 4 | relay | 27T
TR | 4 | relay | 49F
TR | 4 | relay | 30F2
TR | 4 | relay | 8F
TR | 4 | relay | 63F
TR | 4 | relay | 33Q
TR | 4 | relay | 26Q1
TR | 4 | relay | 26Q2
TR | 4 | relay | 26W1
TR | 4 | relay | 26W2
DL | 1 | DS | 411
DL | 1 | DS | 412
DL | 1 | CB | 417
DL | 1 | relay | OCR순시
DL | 1 | relay | OCR한시
DL | 1 | relay | OCGR순시
DL | 1 | relay | OCGR한시
DL | 2 | DS | 421
DL | 2 | DS | 422
DL | 2 | CB | 427
DL | 2 | relay | OCR순시
DL | 2 | relay | OCR한시
DL | 2 | relay | OCGR순시
DL | 2 | relay | OCGR한시
DL | 3 | DS | 431
DL | 3 | DS | 432
DL | 3 | CB | 437
DL | 3 | relay | OCR순시
DL | 3 | relay | OCR한시
DL | 3 | relay | OCGR순시
DL | 3 | relay | OCGR한시
DL | 4 | DS | 441
DL | 4 | DS | 442
DL | 4 | CB | 447
DL | 4 | relay | OCR순시
DL | 4 | relay | OCR한시
DL | 4 | relay | OCGR순시
DL | 4 | relay | OCGR한시
DL | 5 | DS | 451
DL | 5 | DS | 452
DL | 5 | CB | 457
DL | 5 | relay | OCR순시
DL | 5 | relay | OCR한시
DL | 5 | relay | OCGR순시
DL | 5 | relay | OCGR한시
DL | 6 | DS | 461
DL | 6 | DS | 462
DL | 6 | CB | 467
DL | 6 | relay | OCR순시
DL | 6 | relay | OCR한시
DL | 6 | relay | OCGR순시
DL | 6 | relay | OCGR한시
DL | 7 | DS | 471
DL | 7 | DS | 472
DL | 7 | CB | 477
DL | 7 | relay | OCR순시
DL | 7 | relay | OCR한시
DL | 7 | relay | OCGR순시
DL | 7 | relay | OCGR한시
DL | 8 | DS | 481
DL | 8 | DS | 482
DL | 8 | CB | 487
DL | 8 | relay | OCR순시
DL | 8 | relay | OCR한시
DL | 8 | relay | OCGR순시
DL | 8 | relay | OCGR한시
DL | 9 | DS | 491
DL | 9 | DS | 492
DL | 9 | CB | 497
DL | 9 | relay | OCR순시
DL | 9 | relay | OCR한시
DL | 9 | relay | OCGR순시
DL | 9 | relay | OCGR한시
DL | A | DS | 4A1
DL | A | DS | 4A2
DL | A | CB | 4A7
DL | A | relay | OCR순시
DL | A | relay | OCR한시
DL | A | relay | OCGR순시
DL | A | relay | OCGR한시
DL | B | DS | 4B1
DL | B | DS | 4B2
DL | B | CB | 4B7
DL | B | relay | OCR순시
DL | B | relay | OCR한시
DL | B | relay | OCGR순시
DL | B | relay | OCGR한시
DL | C | DS | 4C1
DL | C | DS | 4C2
DL | C | CB | 4C7
DL | C | relay | OCR순시
DL | C | relay | OCR한시
DL | C | relay | OCGR순시
DL | C | relay | OCGR한시
DL | D | DS | 4D1
DL | D | DS | 4D2
DL | D | CB | 4D7
DL | D | relay | OCR순시
DL | D | relay | OCR한시
DL | D | relay | OCGR순시
DL | D | relay | OCGR한시
DL | E | DS | 4E1
DL | E | DS | 4E2
DL | E | CB | 4E7
DL | E | relay | OCR순시
DL | E | relay | OCR한시
DL | E | relay | OCGR순시
DL | E | relay | OCGR한시
DL | F | DS | 4F1
DL | F | DS | 4F2
DL | F | CB | 4F7
DL | F | relay | OCR순시
DL | F | relay | OCR한시
DL | F | relay | OCGR순시
DL | F | relay | OCGR한시
DL | G | DS | 4G1
DL | G | DS | 4G2
DL | G | CB | 4G7
DL | G | relay | OCR순시
DL | G | relay | OCR한시
DL | G | relay | OCGR순시
DL | G | relay | OCGR한시
DL | H | DS | 4H1
DL | H | DS | 4H2
DL | H | CB | 4H7
DL | H | relay | OCR순시
DL | H | relay | OCR한시
DL | H | relay | OCGR순시
DL | H | relay | OCGR한시
DL | I | DS | 4I1
DL | I | DS | 4I2
DL | I | CB | 4I7
DL | I | relay | OCR순시
DL | I | relay | OCR한시
DL | I | relay | OCGR순시
DL | I | relay | OCGR한시
DL | J | DS | 4J1
DL | J | DS | 4J2
DL | J | CB | 4J7
DL | J | relay | OCR순시
DL | J | relay | OCR한시
DL | J | relay | OCGR순시
DL | J | relay | OCGR한시
DL | K | DS | 4K1
DL | K | DS | 4K2
DL | K | CB | 4K7
DL | K | relay | OCR순시
DL | K | relay | OCR한시
DL | K | relay | OCGR순시
DL | K | relay | OCGR한시
DL | L | DS | 4L1
DL | L | DS | 4L2
DL | L | CB | 4L7
DL | L | relay | OCR순시
DL | L | relay | OCR한시
DL | L | relay | OCGR순시
DL | L | relay | OCGR한시
DL | M | DS | 4M1
DL | M | DS | 4M2
DL | M | CB | 4M7
DL | M | relay | OCR순시
DL | M | relay | OCR한시
DL | M | relay | OCGR순시
DL | M | relay | OCGR한시
DL | N | DS | 4N1
DL | N | DS | 4N2
DL | N | CB | 4N7
DL | N | relay | OCR순시
DL | N | relay | OCR한시
DL | N | relay | OCGR순시
DL | N | relay | OCGR한시
DL | O | DS | 4O1
DL | O | DS | 4O2
DL | O | CB | 4O7
DL | O | relay | OCR순시
DL | O | relay | OCR한시
DL | O | relay | OCGR순시
DL | O | relay | OCGR한시
DL | P | DS | 4P1
DL | P | DS | 4P2
DL | P | CB | 4P7
DL | P | relay | OCR순시
DL | P | relay | OCR한시
DL | P | relay | OCGR순시
DL | P | relay | OCGR한시
DL | Q | DS | 4Q1
DL | Q | DS | 4Q2
DL | Q | CB | 4Q7
DL | Q | relay | OCR순시
DL | Q | relay | OCR한시
DL | Q | relay | OCGR순시
DL | Q | relay | OCGR한시
DL | R | DS | 4R1
DL | R | DS | 4R2
DL | R | CB | 4R7
DL | R | relay | OCR순시
DL | R | relay | OCR한시
DL | R | relay | OCGR순시
DL | R | relay | OCGR한시
DL | S | DS | 4S1
DL | S | DS | 4S2
DL | S | CB | 4S7
DL | S | relay | OCR순시
DL | S | relay | OCR한시
DL | S | relay | OCGR순시
DL | S | relay | OCGR한시
DL | T | DS | 4T1
DL | T | DS | 4T2
DL | T | CB | 4T7
DL | T | relay | OCR순시
DL | T | relay | OCR한시
DL | T | relay | OCGR순시
DL | T | relay | OCGR한시
DL | U | DS | 4U1
DL | U | DS | 4U2
DL | U | CB | 4U7
DL | U | relay | OCR순시
DL | U | relay | OCR한시
DL | U | relay | OCGR순시
DL | U | relay | OCGR한시
DL | V | DS | 4V1
DL | V | DS | 4V2
DL | V | CB | 4V7
DL | V | relay | OCR순시
DL | V | relay | OCR한시
DL | V | relay | OCGR순시
DL | V | relay | OCGR한시
DL | W | DS | 4W1
DL | W | DS | 4W2
DL | W | CB | 4W7
DL | W | relay | OCR순시
DL | W | relay | OCR한시
DL | W | relay | OCGR순시
DL | W | relay | OCGR한시
DL | X | DS | 4X1
DL | X | DS | 4X2
DL | X | CB | 4X7
DL | X | relay | OCR순시
DL | X | relay | OCR한시
DL | X | relay | OCGR순시
DL | X | relay | OCGR한시
DL | Y | DS | 4Y1
DL | Y | DS | 4Y2
DL | Y | CB | 4Y7
DL | Y | relay | OCR순시
DL | Y | relay | OCR한시
DL | Y | relay | OCGR순시
DL | Y | relay | OCGR한시
DL | Z | DS | 4Z1
DL | Z | DS | 4Z2
DL | Z | CB | 4Z7
DL | Z | relay | OCR순시
DL | Z | relay | OCR한시
DL | Z | relay | OCGR순시
DL | Z | relay | OCGR한시
BUS | 1 | DS | 6101
BUS | 1 | DS | 6102
BUS | 1 | CB | 6100
BUS | 1 | relay | 87B1
BUS | 1 | relay | 87B2
BUS | 1 | relay | BreakerFail
BUS | 1 | relay | DSFail
BUS | 1 | relay | 양Dson
BUS | 1 | relay | 양DSOpen
BUS | 1 | relay | VTFail
BUS | 1 | relay | RelayFail
BUS | 1 | relay | PNL DC Fail
BUS | 1 | relay | CT Fail
BUS | 1 | relay | GISGASLow1차
BUS | 1 | relay | GISGASLow2차
BUS | 1 | relay | GISAIRLow1차
BUS | 1 | relay | GISAIRLow2차
BUS | 1 | relay | GISDCFail
BUS | 1 | relay | GISACFail
BUS | 40 | DS | 4101
BUS | 40 | DS | 4102
BUS | 40 | CB | 4100
BUS | 40 | relay | MAIN OCR 순시
BUS | 40 | relay | MAIN OCR 한시
BUS | 40 | relay | MAIN OCGR 순시
BUS | 40 | relay | MAIN OCGR 한시
BUS | 40 | relay | OCR 51
BUS | 40 | relay | OCGR 51N
BUS | 40 | relay | DOVR 60
BUS | 40 | relay | OVR 59
BUS | 40 | relay | UVR 27
BUS | 41 | DS | 40-41-1
BUS | 41 | DS | 40-41-2
BUS | 41 | CB | 40-41-0
BUS | 41 | relay | MAIN OCR 순시
BUS | 41 | relay | MAIN OCR 한시
BUS | 41 | relay | MAIN OCGR 순시
BUS | 41 | relay | MAIN OCGR 한시
BUS | 41 | relay | OCR 51
BUS | 41 | relay | OCGR 51N
BUS | 41 | relay | DOVR 60
BUS | 41 | relay | OVR 59
BUS | 41 | relay | UVR 27
BUS | 42 | DS | 41-42-1
BUS | 42 | DS | 41-42-2
BUS | 42 | DS | 4201
BUS | 42 | DS | 4202
BUS | 42 | CB | 4200
BUS | 42 | CB | 41-42-0
BUS | 42 | relay | MAIN OCR 순시
BUS | 42 | relay | MAIN OCR 한시
BUS | 42 | relay | MAIN OCGR 순시
BUS | 42 | relay | MAIN OCGR 한시
BUS | 42 | relay | OCR 51
BUS | 42 | relay | OCGR 51N
BUS | 42 | relay | DOVR 60
BUS | 42 | relay | OVR 59
BUS | 42 | relay | UVR 27
BUS | 43 | DS | 42-43-1
BUS | 43 | DS | 42-43-2
BUS | 43 | CB | 42-43-0
BUS | 43 | relay | MAIN OCR 순시
BUS | 43 | relay | MAIN OCR 한시
BUS | 43 | relay | MAIN OCGR 순시
BUS | 43 | relay | MAIN OCGR 한시
BUS | 43 | relay | OCR 51
BUS | 43 | relay | OCGR 51N
BUS | 43 | relay | DOVR 60
BUS | 43 | relay | OVR 59
BUS | 43 | relay | UVR 27
BUS | 45 | relay | MAIN OCR 순시
BUS | 45 | relay | MAIN OCR 한시
BUS | 45 | relay | MAIN OCGR 순시
BUS | 45 | relay | MAIN OCGR 한시
BUS | 45 | relay | OCR 51
BUS | 45 | relay | OCGR 51N
BUS | 45 | relay | DOVR 60
BUS | 45 | relay | OVR 59
BUS | 45 | relay | UVR 27
BUS | 46 | DS | 45-46-1
BUS | 46 | DS | 45-46-2
BUS | 46 | CB | 45-46-0
BUS | 46 | relay | MAIN OCR 순시
BUS | 46 | relay | MAIN OCR 한시
BUS | 46 | relay | MAIN OCGR 순시
BUS | 46 | relay | MAIN OCGR 한시
BUS | 46 | relay | OCR 51
BUS | 46 | relay | OCGR 51N
BUS | 46 | relay | DOVR 60
BUS | 46 | relay | OVR 59
BUS | 46 | relay | UVR 27
BUS | 47 | DS | 46-47-1
BUS | 47 | DS | 46-47-2
BUS | 47 | CB | 46-47-0
BUS | 47 | relay | MAIN OCR 순시
BUS | 47 | relay | MAIN OCR 한시
BUS | 47 | relay | MAIN OCGR 순시
BUS | 47 | relay | MAIN OCGR 한시
BUS | 47 | relay | OCR 51
BUS | 47 | relay | OCGR 51N
BUS | 47 | relay | DOVR 60
BUS | 47 | relay | OVR 59
BUS | 47 | relay | UVR 27
BUS | 48 | DS | 47-48-1
BUS | 48 | DS | 47-48-2
BUS | 48 | CB | 47-48-0
BUS | 48 | relay | MAIN OCR 순시
BUS | 48 | relay | MAIN OCR 한시
BUS | 48 | relay | MAIN OCGR 순시
BUS | 48 | relay | MAIN OCGR 한시
BUS | 48 | relay | OCR 51
BUS | 48 | relay | OCGR 51N
BUS | 48 | relay | DOVR 60
BUS | 48 | relay | OVR 59
BUS | 48 | relay | UVR 27